## library_meta
type | library
urn | urn:intuitem:risk:library:iec-62443-2-4-2023
version | 2
locale | en
ref_id | iec-62443-2-4-2023
name | IEC 62443-2-4:2023 — Security program for IACS service providers (functional-area outline)
description | Outline of IEC 62443-2-4:2023 Edition 2 — Security for industrial automation and control systems - Part 2-4: Security program requirements for IACS service providers. Targets system integrators and maintenance service providers; basis of the ISASecure ACSSA service-provider scheme. Requirements live in Annex A (normative) Table A.1 with BR (Base Requirement) / RE (Requirement Enhancement) rows. This v0 ships the 12 functional areas SP.01-SP.12 as assessable rows with paraphrased descriptions; BR-level rows are pending full Ed.2 text access. Each functional area is rated on the Maturity Level scale ML 1-4 (aligned with 62443-4-1 and 62443-2-1 Ed.2).
copyright | IEC - Purchase the standard for the full normative text and Annex A Table A.1.
provider | IEC
packager | intuitem

## fwk_meta
type | framework
base_urn | urn:intuitem:risk:req_node:iec-62443-2-4-2023
urn | urn:intuitem:risk:framework:iec-62443-2-4-2023
ref_id | iec-62443-2-4-2023
name | IEC 62443-2-4:2023 — Security program for IACS service providers (functional-area outline)
description | v0 outline at functional-area granularity in procurement tone (what the service provider does + what the asset owner asks for). Each row corresponds to a SP.aa functional area; BR-level (SP.aa.bb) rows are pending full Ed.2 text access.
min_score | 0
max_score | 5
scores_definition | scr

## fwk_content
assessable | depth | ref_id | name | description
| 1 | A | Annex A (normative) - Security requirements | Service-provider security capabilities organized by 12 functional areas; each area carries multiple Base Requirements (BRs) and Requirement Enhancements (REs) — paywalled, not in this v0 outline.
x | 2 | SP.01 | Solution staffing | Service capability: The service provider's staff working on IACS solutions are competent, screened, and have role-specific cybersecurity training. Asset owner asks: Background-check policy and records, cybersecurity training records, role-competency matrix mapping staff to engagement responsibilities.
x | 2 | SP.02 | Assurance | Service capability: The service provider executes its services under documented assurance practices (quality, security, change control, defect tracking). Asset owner asks: Assurance documentation, internal-audit reports, defect-tracking metrics, certifications (e.g. ISASecure, ISO 9001/27001).
x | 2 | SP.03 | Architecture | Service capability: The service provider designs IACS architectures aligned with the asset owner's cybersecurity requirements (62443-3-2 zones and conduits, 62443-3-3 SL-T). Asset owner asks: Architecture-review records, evidence that the design honors the zone-and-conduit model and target Security Levels.
x | 2 | SP.04 | Wireless | Service capability: The service provider deploys wireless capabilities under documented secure-wireless practices (authentication, encryption, segregation, rogue-AP detection). Asset owner asks: Wireless deployment standards and configurations; segmentation evidence; protocol/encryption choices.
x | 2 | SP.05 | SIS (Safety Instrumented Systems) | Service capability: The service provider handles safety-instrumented systems with heightened controls — documented separation aligned with the SIL boundary, dual approval (safety + cybersecurity) for any change, testing in a separate environment, reversibility requirements, and coordination with the asset owner's safety lifecycle (IEC 61511 management of change). Asset owner asks: SIS-handling procedures with explicit dual-approval workflow, SIL-aware separation evidence, change-control records, evidence of integration with the asset owner's IEC 61511 MoC.
x | 2 | SP.06 | Configuration management | Service capability: The service provider maintains documented configuration management for delivered solutions (inventory, baselines, change control, version tracking). Asset owner asks: Configuration-management plans, baselines, change records, version-control evidence.
x | 2 | SP.07 | Remote access | Service capability: The service provider's remote-access activities follow asset-owner-approved procedures (authentication, time-bounding, session recording, supervised access). Asset owner asks: Remote-access policy, approved-tool list, session logs, evidence of compliance with the asset owner's remote-access rules.
x | 2 | SP.08 | Event management | Service capability: The service provider monitors, records, and reports security-relevant events from delivered solutions, integrating with the asset owner's monitoring where applicable, with a documented incident-handoff procedure (who calls whom, escalation thresholds, contractual response times) coordinating with the asset owner's IR team. Asset owner asks: Event-management procedures, integration with asset-owner SOC if applicable, IR-handoff runbook with named contacts and contractual response SLAs, joint-exercise records.
x | 2 | SP.09 | Account management | Service capability: The service provider manages accounts (its own and customer-supplied) under documented account-management practices including offboarding SLAs for service-provider personnel. Asset owner asks: Account-management procedures, vendor-account inventory, offboarding records, evidence that departed personnel lose access promptly.
x | 2 | SP.10 | Malware protection | Service capability: The service provider's deployed and operated malware-protection capabilities are documented and operational on every component class. Asset owner asks: Malware-protection approach per component type, signature-update process, scan history.
x | 2 | SP.11 | Patch management | Service capability: The service provider qualifies, distributes, and applies patches per documented procedures aligned with the asset owner's change-control. Asset owner asks: Patch-qualification procedure, patch-status reports, deferred-patch mitigation register, integration with the asset owner's change-control.
x | 2 | SP.12 | Backup/restore | Service capability: The service provider provides backup and restore capabilities for delivered solutions, with documented scope, schedule, verification, and media protection. Asset owner asks: Backup scope and schedule, restoration test records, media handling and protection, recovery-time evidence.

## scr_meta
type | scores
name | scr

## scr_content
score | name | description
0 | Incomplete | Ad hoc and unknown
1 | Initial | Unpredictable and reactive
2 | Managed | Managed on the project level
3 | Defined | Proactive, rather than reactive
4 | Quantitatively managed | Measured and controlled
5 | Optimizing | Stable and flexible